# Monthly Operational Report (FM01-MET) {{Month}} {{YYYY}}

Operation:

1. Carried out Daily/Weekly/ Monthly Inspection and PPM of the following system

  - MET/ATIS Equipment

  - AMHS Equipment

  - RSMS Equipment

2. Monitoring of corrective and preventive maintenance of MET & IT Systems.

3. RSMS storage health checked.

4. Follow-up regarding the pending MR with the store.

5. PPM assignment to the new month.

6. MET sensor biweekly maintenance scheduled.

7. {{work_logs}}

Issues:

- The AWOS servers have exceeded their recommended lifecycle, and the upgrade/RFP process is currently in progress.

- Spare ATIS Sound Mixer not available.

- Cybersecurity implementation for the CNS system is required, and the RFP process is currently in progress.

- MET Sensor component-based spares not available.

- Redundant met sensors not available in the airfield like QNH, Temp/Hum, and solar.

Good learning items:

- Attend internal monthly progress meetings.

Plans:

- AWOS upgrade.

- ATIS upgrade.

- Installation of Backup sensors & upgrade of AWOS.

- RSMS Upgrade, in-progress.

- Topsky ATM system deployment.

Training:

- Trained staff about introduction to AWOS system.

Program of work to be carried out in the upcoming months:

| S/N | Description of Works | Estimate Start Date | Estimate Completion Date | Remarks |
| --- | --- | --- | --- | --- |
| 1 | RSMS new camera integration | 01-02-2023 | 01-11-2026 | In progress |
| 2 | Topsky ATM deployment project by Thales | 01-08-2024 | 01-03-2026 | In progress |
| 3 | AMHS Backup link configuration | 01-10-2024 | 02-03-2026 | In progress |
| 4 | Upgrade of AWOS &ATIS | 06-07-2025 | 30-10-2026 | In progress |

Availability and Serviceability of technical installations

| S/N | System Description | Serviceability Condition | Availability | Remarks |
| --- | --- | --- | --- | --- |
| CNS SECTION |  |  |  |  |
| 1 | Automatic Weather Observation System (AWOS) | GOOD | Meet Requirements |  |
| 2 | Communication Navigation & Surveillance Data Centre | GOOD | Meet Requirements |  |
| 3 | Lack of spare workstation for the PHOENIX ATM system | Critical | Doesn’t Meet Requirements | No spare workstation available. Coordinated with DANS for a spare workstation; awaiting their response. |

Potential new sources of saving and any other recommendations: (CNS/AGL/ACW)

## CNS Section Value added and client cost saving support:

| S.No | Work Description | Saving cost |
| --- | --- | --- |
| Total Savings |  |  |

## CNS Section Work in progress/ Risk register:

| No. | ISSUE DESCRIPTION | Associated Risk | Remarks | Latest updates |
| --- | --- | --- | --- | --- |
| 1 | Backup/redundant MET Sensors Installation | Required for CAT III runway Operations/Incase of failure ATC won’t have the information of critical sensors. | Installation of Back up sensor. | The tender has been awarded, and the site survey is currently in progress. |
| 2 | MET component-based spares | Required for Sensor failure | Quotations submitted to SAA |  |
| 3 | AWOS7 Application upgrade | Application failure/OS failure | SAA to contact Combitech to have AMC for the application version and OS upgrade |  |
| 4 | Cyber security implementation | Demo deployment and testing was done | It was a finding from the GCAA auditor to have Cyber security system implemented on CNS facilities. | The RFP has been prepared and tender floated. |

Pictures for the Month of {{Month}} {{YYYY}}

| {{img1}} | {{img2}} |
| --- | --- |
| {{img3}} | {{img4}} |
| {{img5}} | {{img6}} |
| {{img7}} | {{img8}} |